## Fuel Handling
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
Fuel Handling | Moving Floor Unit 1 |  |  | MA-MOV-001 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  |  | Unit 1 solenoid valve 1 | PA-MOV-001-01 | Part Asset | Fuel preparation | Solenoid valve | Electrical | A |  |  |  | Active
Fuel Handling |  |  | Unit 1 solenoid valve 2 | PA-MOV-001-02 | Part Asset | Fuel preparation | Solenoid valve | Electrical | A |  |  |  | Active
Fuel Handling | Moving Floor Unit 2 |  |  | MA-MOV-002 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  |  | Unit 2 solenoid valve 1 | PA-MOV-002-01 | Part Asset | Fuel preparation | Solenoid valve | Electrical | A |  |  |  | Active
Fuel Handling |  |  | Unit 2 solenoid valve 2 | PA-MOV-002-02 | Part Asset | Fuel preparation | Solenoid valve | Electrical | A |  |  |  | Active
Fuel Handling | Hydraulic Moving Floor 01 |  |  | MA-HVF-001 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  | Motor Hydraulic No.01 |  | SA-HVF-001-01 | Sub Asset | Fuel preparation | Motor | Electrical | A |  |  |  | Active
Fuel Handling |  | Fan Hydraulic Cooling No.01 |  | SA-HVF-001-02 | Sub Asset | Fuel preparation | Fan | Electrical | A |  |  |  | Active
Fuel Handling |  | Penumatic Swing Plate No.1 |  | SA-HVF-001-03 | Sub Asset | Fuel preparation | Swing Plate | Electrical | A |  |  |  | Active
Fuel Handling |  |  | HMF1 Proximity Sensor No.1 | PA-HVF-001-01 | Part Asset | Fuel preparation | Proximity | Instrument | B |  |  |  | Active
Fuel Handling |  |  | HMF1 Proximity Sensor No.2 | PA-HVF-001-02 | Part Asset | Fuel preparation | Proximity | Instrument | B |  |  |  | Active
Fuel Handling |  |  | HMF1 Proximity Sensor No.3 | PA-HVF-001-03 | Part Asset | Fuel preparation | Proximity | Instrument | B |  |  |  | Active
Fuel Handling | Hydraulic Moving Floor 02 |  |  | MA-HVF-002 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  | Motor Hydraulic No.02 |  | SA-HVF-002-01 | Sub Asset | Fuel preparation | Motor | Electrical | A |  |  |  | Active
Fuel Handling |  | Fan Hydraulic Cooling No.02 |  | SA-HVF-002-02 | Sub Asset | Fuel preparation | Fan | Electrical | A |  |  |  | Active
Fuel Handling |  | Penumatic Swing Plate No.2 |  | SA-HVF-002-03 | Sub Asset | Fuel preparation | Swing Plate | Electrical | A |  |  |  | Active
Fuel Handling |  |  | HMF2 Proximity Sensor No.1 | PA-HVF-002-01 | Part Asset | Fuel preparation | Proximity | Instrument | B |  |  |  | Active
Fuel Handling |  |  | HMF2 Proximity Sensor No.2 | PA-HVF-002-02 | Part Asset | Fuel preparation | Proximity | Instrument | B |  |  |  | Active
Fuel Handling |  |  | HMF2 Proximity Sensor No.3 | PA-HVF-002-03 | Part Asset | Fuel preparation | Proximity | Instrument | B |  |  |  | Active
Fuel Handling | Hydraulic Moving Floor 03 |  |  | MA-HVF-003 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  | Motor Hydraulic No.03 |  | SA-HVF-003-01 | Sub Asset | Fuel preparation | Motor | Electrical | A |  |  |  | Active
Fuel Handling |  | Fan Hydraulic Cooling No.03 |  | SA-HVF-003-02 | Sub Asset | Fuel preparation | Fan | Electrical | A |  |  |  | Active
Fuel Handling |  | Penumatic Swing Plate No.3 |  | SA-HVF-003-03 | Sub Asset | Fuel preparation | Swing Plate | Electrical | A |  |  |  | Active
Fuel Handling |  |  | HMF3 Proximity Sensor No.1 | PA-HVF-003-01 | Part Asset | Fuel preparation | Proximity | Instrument | B |  |  |  | Active
Fuel Handling |  |  | HMF3 Proximity Sensor No.2 | PA-HVF-003-02 | Part Asset | Fuel preparation | Proximity | Instrument | B |  |  |  | Active
Fuel Handling |  |  | HMF3 Proximity Sensor No.3 | PA-HVF-003-03 | Part Asset | Fuel preparation | Proximity | Instrument | B |  |  |  | Active
Fuel Handling | Hydraulic Moving Floor 04 |  |  | MA-HVF-004 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  | Motor Hydraulic No.04 |  | SA-HVF-004-01 | Sub Asset | Fuel preparation | Motor | Electrical | A |  |  |  | Active
Fuel Handling |  | Fan Hydraulic Cooling No.04 |  | SA-HVF-004-02 | Sub Asset | Fuel preparation | Fan | Electrical | A |  |  |  | Active
Fuel Handling |  | Penumatic Swing Plate No.4 |  | SA-HVF-004-03 | Sub Asset | Fuel preparation | Swing Plate | Electrical | A |  |  |  | Active
Fuel Handling |  |  | HMF4 Proximity Sensor No.1 | PA-HVF-004-01 | Part Asset | Fuel preparation | Proximity | Instrument | B |  |  |  | Active
Fuel Handling |  |  | HMF4 Proximity Sensor No.2 | PA-HVF-004-02 | Part Asset | Fuel preparation | Proximity | Instrument | B |  |  |  | Active
Fuel Handling |  |  | HMF4 Proximity Sensor No.3 | PA-HVF-004-03 | Part Asset | Fuel preparation | Proximity | Instrument | B |  |  |  | Active
Fuel Handling | Fuel Belt Conveyor-01 |  |  | MA-FBC-001 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  | Gear Fuel Belt Conveyor-01 |  | SA-FBC-001-01 | Sub Asset | Fuel preparation | Gear | Mechanical | A |  |  |  | Active
Fuel Handling |  | Motor Fuel Belt Conveyor-01 |  | SA-FBC-001-02 | Sub Asset | Fuel preparation | Motor | Electrical | A |  |  |  | Active
Fuel Handling | Fuel Belt Conveyor-02 |  |  | MA-FBC-002 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  | Gear Fuel Belt Conveyor-02 |  | SA-FBC-002-01 | Sub Asset | Fuel preparation | Gear | Mechanical | A |  |  |  | Active
Fuel Handling |  | Motor Fuel Belt Conveyor-02 |  | SA-FBC-002-02 | Sub Asset | Fuel preparation | Motor | Electrical | A |  |  |  | Active
Fuel Handling | Swing Plate กระจายเชื้อเพลิง |  |  | MA-SWP-001 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling | Fuel Screw Spinner |  |  | MA-FSS-001 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  | Gear Fuel Screw Spinner |  | SA-FSS-001-01 | Sub Asset | Fuel preparation | Gear | Mechanical | A |  |  |  | Active
Fuel Handling |  | Motor Fuel Screw Spinner |  | SA-FSS-001-02 | Sub Asset | Fuel preparation | Motor | Electrical | A |  |  |  | Active
Fuel Handling | Fuel Double Screw Feeder No. 1 |  |  | MA-FSF-001 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  | Gear Fuel Double Screw Feeder No. 1 |  | SA-FSF-001-01 | Sub Asset | Fuel preparation | Gear | Mechanical | A |  |  |  | Active
Fuel Handling |  | Motor Fuel Double Screw Feeder No. 1 |  | SA-FSF-001-02 | Sub Asset | Fuel preparation | Motor | Electrical | A |  |  |  | Active
Fuel Handling | Fuel Double Screw Feeder No. 2 |  |  | MA-FSF-002 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  | Gear Fuel Double Screw Feeder No. 2 |  | SA-FSF-002-01 | Sub Asset | Fuel preparation | Gear | Mechanical | A |  |  |  | Active
Fuel Handling |  | Motor Fuel Double Screw Feeder No. 2 |  | SA-FSF-002-02 | Sub Asset | Fuel preparation | Motor | Electrical | A |  |  |  | Active
Fuel Handling | Spreader Damper |  |  | MA-SDD-001 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  | Impeller Spreader Damper |  | SA-SDD-001-01 | Sub Asset | Fuel preparation | Impeller | Mechanical | A |  |  |  | Active
Fuel Handling |  | Motor Spreader Damper |  | SA-SDD-001-02 | Sub Asset | Fuel preparation | Motor | Electrical | A |  |  |  | Active
Fuel Handling | Spreader Air Fan |  |  | MA-SAF-001 | Main Asset | Fuel preparation | Machine | Mechanical | A |  |  |  | Active
Fuel Handling |  | Impeller Spreader Air Fan |  | SA-SAF-001-01 | Sub Asset | Fuel preparation | Impeller | Mechanical | A |  |  |  | Active
Fuel Handling |  | Motor Spreader Air Fan |  | SA-SAF-001-02 | Sub Asset | Fuel preparation | Motor | Electrical | A |  |  |  | Active

## Combustion
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
Combustion | Primary Air Fan |  |  | MA-PAF-001 | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Combustion |  | Impeller Primary Air Fan |  | SA-PAF-001-01 | Sub Asset | Boiler&Combustion | Impeller | Mechanical | A |  |  |  | Active
Combustion |  | Motor Primary Air Fan |  | SA-PAF-001-02 | Sub Asset | Boiler&Combustion | Motor | Electrical | A |  |  |  | Active
Combustion | Secodary Air Fan |  |  | MA-SAF-001 | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Combustion |  | Impeller Secodary Air Fan |  | SA-SAF-001-01 | Sub Asset | Boiler&Combustion | Impeller | Mechanical | A |  |  |  | Active
Combustion |  | Motor Secodary Air Fan |  | SA-SAF-001-02 | Sub Asset | Boiler&Combustion | Motor | Electrical | A |  |  |  | Active
Combustion | Induce Draft Fan |  |  | MA-IDF-001 | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Combustion |  | Impeller Induce Draft Fan |  | SA-IDF-001-01 | Sub Asset | Boiler&Combustion | Impeller | Mechanical | A |  |  |  | Active
Combustion |  | Motor Induce Draft Fan |  | SA-IDF-001-02 | Sub Asset | Boiler&Combustion | Motor | Electrical | A |  |  |  | Active
Combustion | Flue Gas Recir |  |  | MA-FGR-001 | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Combustion |  | Impeller Flue Gas Recir |  | SA-FGR-001-01 | Sub Asset | Boiler&Combustion | Impeller | Mechanical | A |  |  |  | Active
Combustion |  | Motor Flue Gas Recir |  | SA-FGR-001-02 | Sub Asset | Boiler&Combustion | Motor | Electrical | A |  |  |  | Active
Combustion | Vibrating Grate Cooling Pump No. 1 |  |  | MA-VCP-001 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Pump VGCP No.1 |  | SA-VCP-001-01 | Sub Asset | Boiler&Combustion | Pump | Mechanical | B |  |  |  | Active
Combustion |  | Motor VGCP No.1 |  | SA-VCP-001-02 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Vibrating Grate Cooling Pump No. 2 |  |  | MA-VCP-002 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Pump VGCP No.2 |  | SA-VCP-002-01 | Sub Asset | Boiler&Combustion | Pump | Mechanical | B |  |  |  | Active
Combustion |  | Motor VGCP No.2 |  | SA-VCP-002-02 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Soot Blower No. 1(Super Heat#2) |  |  | MA-SBW-001 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower No. 1 |  | SA-SBW-001-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow No. 1 |  | SA-SBW-001-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower No. 1 |  | SA-SBW-001-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Soot Blower No. 2(Super Heat#3) |  |  | MA-SBW-002 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower No. 2 |  | SA-SBW-002-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow No. 2 |  | SA-SBW-002-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower No. 2 |  | SA-SBW-002-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Soot Blower No. 3(Super Heat#4) |  |  | MA-SBW-003 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower No. 3 |  | SA-SBW-003-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow No. 3 |  | SA-SBW-003-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower No. 3 |  | SA-SBW-003-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Soot Blower No. 4(Super Heat#5) |  |  | MA-SBW-004 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower No. 4 |  | SA-SBW-004-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow No. 4 |  | SA-SBW-004-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower No. 4 |  | SA-SBW-004-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 1(Eco#8) |  |  | MA-SEB-001 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 1 |  | SA-SEB-001-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 1 |  | SA-SEB-001-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 1 |  | SA-SEB-001-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 2(Eco#8) |  |  | MA-SEB-002 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 2 |  | SA-SEB-002-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 2 |  | SA-SEB-002-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 2 |  | SA-SEB-002-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 3(Air Preheat#2) |  |  | MA-SEB-003 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 3 |  | SA-SEB-003-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 3 |  | SA-SEB-003-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 3 |  | SA-SEB-003-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 4(Air Preheat#2) |  |  | MA-SEB-004 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 4 |  | SA-SEB-004-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 4 |  | SA-SEB-004-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 4 |  | SA-SEB-004-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 5(Air Preheat#1) |  |  | MA-SEB-005 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 5 |  | SA-SEB-005-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 5 |  | SA-SEB-005-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 5 |  | SA-SEB-005-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 6(Air Preheat#1) |  |  | MA-SEB-006 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 6 |  | SA-SEB-006-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 6 |  | SA-SEB-006-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 6 |  | SA-SEB-006-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 7(Eco#7) |  |  | MA-SEB-007 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 7 |  | SA-SEB-007-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 7 |  | SA-SEB-007-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 7 |  | SA-SEB-007-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 8(Eco#7) |  |  | MA-SEB-008 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 8 |  | SA-SEB-008-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 8 |  | SA-SEB-008-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 8 |  | SA-SEB-008-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 9(Eco#6) |  |  | MA-SEB-009 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 9 |  | SA-SEB-009-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 9 |  | SA-SEB-009-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 9 |  | SA-SEB-009-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 10(Eco#6) |  |  | MA-SEB-010 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 10 |  | SA-SEB-010-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 10 |  | SA-SEB-010-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 10 |  | SA-SEB-010-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 11(Eco#5) |  |  | MA-SEB-011 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 11 |  | SA-SEB-011-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 11 |  | SA-SEB-011-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 11 |  | SA-SEB-011-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 12(Eco#5) |  |  | MA-SEB-012 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 12 |  | SA-SEB-012-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 12 |  | SA-SEB-012-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 12 |  | SA-SEB-012-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 13(Eco#4) |  |  | MA-SEB-013 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 13 |  | SA-SEB-013-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 13 |  | SA-SEB-013-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 13 |  | SA-SEB-013-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 14(Eco#4) |  |  | MA-SEB-014 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 14 |  | SA-SEB-014-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 14 |  | SA-SEB-014-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 14 |  | SA-SEB-014-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 15(Eco#3) |  |  | MA-SEB-015 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 15 |  | SA-SEB-015-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 15 |  | SA-SEB-015-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 15 |  | SA-SEB-015-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 16(Eco#3) |  |  | MA-SEB-016 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 16 |  | SA-SEB-016-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 16 |  | SA-SEB-016-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 16 |  | SA-SEB-016-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 17(Eco#2) |  |  | MA-SEB-017 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 17 |  | SA-SEB-017-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 17 |  | SA-SEB-017-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 17 |  | SA-SEB-017-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 18(Eco#2) |  |  | MA-SEB-018 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 18 |  | SA-SEB-018-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 18 |  | SA-SEB-018-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 18 |  | SA-SEB-018-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 19(Eco#1) |  |  | MA-SEB-019 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 19 |  | SA-SEB-019-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 19 |  | SA-SEB-019-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 19 |  | SA-SEB-019-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Rotating Element Blower No. 20(Eco#1) |  |  | MA-SEB-020 | Main Asset | Boiler&Combustion | Machine | Mechanical | B |  |  |  | Active
Combustion |  | Gear Soot Blower ECO No. 20 |  | SA-SEB-020-01 | Sub Asset | Boiler&Combustion | Gear | Mechanical | B |  |  |  | Active
Combustion |  | Lance Tube Soot Blow ECO No. 20 |  | SA-SEB-020-02 | Sub Asset | Boiler&Combustion | Tube | Mechanical | B |  |  |  | Active
Combustion |  | Motor Soot Blower ECO No. 20 |  | SA-SEB-020-03 | Sub Asset | Boiler&Combustion | Motor | Electrical | B |  |  |  | Active
Combustion | Deaerator |  |  |  | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Combustion | Steam Drum |  |  |  | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Combustion | Steam Header |  |  |  | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Combustion | Boiler Pressure Part |  |  |  | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Combustion | Vibrating Grate Unit |  |  |  | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active

## Boiler
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
Boiler | Deaerator |  |  | MA-DET-001 | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Boiler | Steam Drum |  |  | MA-STD-001 | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Boiler | Boiler Feed Pump No. 1 |  |  | MA-BFP-001 | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Boiler |  | Pump Boiler Feed Pump No. 1 |  | SA-BFP-001-01 | Sub Asset | Boiler&Combustion | Pump | Mechanical | A |  |  |  | Active
Boiler |  | Motor Boiler Feed Pump No. 1 |  | SA-BFP-001-02 | Sub Asset | Boiler&Combustion | Motor | Electrical | A |  |  |  | Active
Boiler | Boiler Feed Pump No. 2 |  |  | MA-BFP-002 | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Boiler |  | Pump Boiler Feed Pump No. 2 |  | SA-BFP-002-01 | Sub Asset | Boiler&Combustion | Pump | Mechanical | A |  |  |  | Active
Boiler |  | Motor Boiler Feed Pump No. 2 |  | SA-BFP-002-02 | Sub Asset | Boiler&Combustion | Motor | Electrical | A |  |  |  | Active
Boiler | Demin Make Up Water Pump No. 1 |  |  | MA-DMP-001 | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Boiler |  | Pump Demin Make Up Water Pump No. 1 |  | SA-DMP-001-01 | Sub Asset | Boiler&Combustion | Pump | Mechanical | A |  |  |  | Active
Boiler |  | Motor Demin Make Up Water Pump No. 1 |  | SA-DMP-001-02 | Sub Asset | Boiler&Combustion | Motor | Electrical | A |  |  |  | Active
Boiler | Demin Make Up Water Pump No. 2 |  |  | MA-DMP-002 | Main Asset | Boiler&Combustion | Machine | Mechanical | A |  |  |  | Active
Boiler |  | Pump Demin Make Up Water Pump No. 2 |  | SA-DMP-002-01 | Sub Asset | Boiler&Combustion | Pump | Mechanical | A |  |  |  | Active
Boiler |  | Motor Demin Make Up Water Pump No. 2 |  | SA-DMP-002-02 | Sub Asset | Boiler&Combustion | Motor | Electrical | A |  |  |  | Active
Boiler | Deha Dosing Pump |  |  | MA-DDP-001 | Main Asset | Boiler&Combustion | Machine | Electrical | A |  |  |  | Active
Boiler | Amine Dosing Pump |  |  | MA-ADP-001 | Main Asset | Boiler&Combustion | Machine | Electrical | A |  |  |  | Active
Boiler | Phosphate Dose Pump |  |  | MA-PDP-001 | Main Asset | Boiler&Combustion | Machine | Electrical | A |  |  |  | Active
Boiler | Deha Mixer |  |  | MA-DHM-001 | Main Asset | Boiler&Combustion | Machine | Electrical | A |  |  |  | Active
Boiler | Amine Mixer |  |  | MA-AMM-001 | Main Asset | Boiler&Combustion | Machine | Electrical | A |  |  |  | Active
Boiler | Phosphate Mixer |  |  | MA-PPM-001 | Main Asset | Boiler&Combustion | Machine | Electrical | A |  |  |  | Active

## ASH handing
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
ASH handing | ASH Screw Sealing No. 1 |  |  | MA-ASH-001 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 1 |  | SA-ASH-001-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 1 |  | SA-ASH-001-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASH Screw Sealing No. 2 |  |  | MA-ASH-002 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 2 |  | SA-ASH-002-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 2 |  | SA-ASH-002-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASH Screw Conveyor No. 3 |  |  | MA-ASH-003 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 3 |  | SA-ASH-003-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 3 |  | SA-ASH-003-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASHScrew Conveyor No. 4 |  |  | MA-ASH-004 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 4 |  | SA-ASH-004-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 4 |  | SA-ASH-004-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASH Screw Conveyor No. 5 |  |  | MA-ASH-005 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 5 |  | SA-ASH-005-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 5 |  | SA-ASH-005-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASH Screw Conveyor No. 6 |  |  | MA-ASH-006 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 6 |  | SA-ASH-006-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 6 |  | SA-ASH-006-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASH Screw Conveyor No. 7 |  |  | MA-ASH-007 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 7 |  | SA-ASH-007-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 7 |  | SA-ASH-007-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASH Screw Conveyor No. 8 |  |  | MA-ASH-008 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 8 |  | SA-ASH-008-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 8 |  | SA-ASH-008-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASH Screw Conveyor No. 9 |  |  | MA-ASH-009 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 9 |  | SA-ASH-009-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 9 |  | SA-ASH-009-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASH Screw Conveyor No. 10 |  |  | MA-ASH-010 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 10 |  | SA-ASH-010-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 10 |  | SA-ASH-010-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASH Screw Conveyor No. 11 |  |  | MA-ASH-011 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 11 |  | SA-ASH-011-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 11 |  | SA-ASH-011-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASH Screw Conveyor No. 12 |  |  | MA-ASH-012 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 12 |  | SA-ASH-012-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 12 |  | SA-ASH-012-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASH Screw Conveyor No. 13 |  |  | MA-ASH-013 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 13 |  | SA-ASH-013-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 13 |  | SA-ASH-013-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | ASH Screw Conveyor No. 14 |  |  | MA-ASH-014 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear ASH Screw Sealing No. 14 |  | SA-ASH-014-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor ASH Screw Sealing No. 14 |  | SA-ASH-014-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | Rotary Air Lock No. 1 |  |  | MA-RAL-001 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear Rotary Air Lock No. 1 |  | SA-RAL-001-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor Rotary Air Lock No. 1 |  | SA-RAL-001-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | Rotary Air Lock No. 2 |  |  | MA-RAL-002 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear Rotary Air Lock No. 2 |  | SA-RAL-002-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor Rotary Air Lock No. 2 |  | SA-RAL-002-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | Rotary Air Lock No. 3 |  |  | MA-RAL-003 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear Rotary Air Lock No. 3 |  | SA-RAL-003-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor Rotary Air Lock No. 3 |  | SA-RAL-003-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | Rotary Air Lock No. 4 |  |  | MA-RAL-004 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear Rotary Air Lock No. 4 |  | SA-RAL-004-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor Rotary Air Lock No. 4 |  | SA-RAL-004-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | Rotary Air Lock No. 5 |  |  | MA-RAL-005 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear Rotary Air Lock No. 5 |  | SA-RAL-005-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor Rotary Air Lock No. 5 |  | SA-RAL-005-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | Rotary Air Lock No. 6 |  |  | MA-RAL-006 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear Rotary Air Lock No. 6 |  | SA-RAL-006-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor Rotary Air Lock No. 6 |  | SA-RAL-006-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | Rotary Air Lock No. 7 |  |  | MA-RAL-007 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear Rotary Air Lock No. 7 |  | SA-RAL-007-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor Rotary Air Lock No. 7 |  | SA-RAL-007-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | Wet Ash Chain Conveyor |  |  | MA-WAC-001 | Main Asset | ASH handing | Machine | Mechanical | A |  |  |  | Active
ASH handing |  | Gear Wet Ash Chain Conveyor |  | SA-WAC-001-01 | Sub Asset | ASH handing | Gear | Mechanical | A |  |  |  | Active
ASH handing |  | Motor Wet Ash Chain Conveyor |  | SA-WAC-001-02 | Sub Asset | ASH handing | Motor | Electrical | A |  |  |  | Active
ASH handing | Spindle For Unburn No. 1 |  |  | MA-SFU-001 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear Spindle For Unburn No. 1 |  | SA-SFU-001-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor Spindle For Unburn No. 1 |  | SA-SFU-001-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | Spindle For Unburn No. 2 |  |  | MA-SFU-002 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear Spindle For Unburn No. 2 |  | SA-SFU-002-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor Spindle For Unburn No. 2 |  | SA-SFU-002-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active
ASH handing | Spindle For Unburn No. 3 |  |  | MA-SFU-003 | Main Asset | ASH handing | Machine | Mechanical | B |  |  |  | Active
ASH handing |  | Gear Spindle For Unburn No. 3 |  | SA-SFU-003-01 | Sub Asset | ASH handing | Gear | Mechanical | B |  |  |  | Active
ASH handing |  | Motor Spindle For Unburn No. 3 |  | SA-SFU-003-02 | Sub Asset | ASH handing | Motor | Electrical | B |  |  |  | Active

## Turbine
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
Steam Turbine | Turbine |  |  | MA-TUB-001 | Main Asset | Turbine | Machine | Mechanical | A | TRIVENI |  | TST-2180-G2-EI-027 | Active
Steam Turbine | Gear Box |  |  | MA-GEB-001 | Main Asset | Turbine | Gear | Mechanical | A | TRIVENI |  | 2319X0000237NCLF | Active
Steam Turbine |  | Barring Gear |  | MA-GEB-001-01 | Sub Asset | Turbine | Barring | Mechanical | A |  |  |  | Active
Steam Turbine | Turning Gear |  |  | MA-TUG-001 | Main Asset | Turbine | Motor | Electrical | A |  |  |  | Active
Steam Turbine | Genrerator |  |  | MA-GEN-001 | Main Asset | Turbine | Machine | Electrical | A | TOYODENKI |  |  | Active
Steam Turbine | Main Oil Pump |  |  | MA-MOP-001 | Main Asset | Turbine | Machine | Mechanical | A | RADICON | ROLOID GEAR PUMP | 1072434.1 | Active
Steam Turbine | Emergency Oil Pump |  |  | MA-EOP-001 | Main Asset | Turbine | Machine | Mechanical | A |  | RDNX-200-L | 19-10077 | Active
Steam Turbine |  | Pump Emergency Oil Pump |  | SA-EOP-001-01 | Sub Asset | Turbine | Pump | Mechanical | A |  |  |  | Active
Steam Turbine |  | Motor Emergency Oil Pump |  | SA-EOP-001-02 | Sub Asset | Turbine | Motor | Electrical | A |  |  |  | Active
Steam Turbine | Auxilairy Control Oil Pump No.1 |  |  | MA-COP-001 | Main Asset | Turbine | Machine | Mechanical | A | DELTA | D3S-55/76 | A250311/769 | Active
Steam Turbine |  | Pump Auxilairy Control Oil Pump No.1 |  | MA-COP-001-01 | Sub Asset | Turbine | Pump | Mechanical | A |  |  |  | Active
Steam Turbine |  | Motor Auxilairy Control Oil Pump No.1 |  | MA-COP-001-02 | Sub Asset | Turbine | Motor | Electrical | A |  |  |  | Active
Steam Turbine | Auxilairy Control Oil Pump No.2 |  |  | MA-COP-002 | Main Asset | Turbine | Machine | Mechanical | A | DELTA | D3S-55/76 | A250414/950 | Active
Steam Turbine |  | Pump Auxilairy Control Oil Pump No.2 |  | MA-COP-002-01 | Sub Asset | Turbine | Pump | Mechanical | A |  |  |  | Active
Steam Turbine |  | Motor Auxilairy Control Oil Pump No.2 |  | MA-COP-002-02 | Sub Asset | Turbine | Motor | Electrical | A |  |  |  | Active
Steam Turbine | Auxilairy Oil Pump |  |  | MA-AOP-001 | Main Asset | Turbine | Machine | Mechanical | A | ROTARY GEAR PUMP | RDNX-300-L | 18-14365 | Active
Steam Turbine |  | Pump Auxilairy Oil Pump |  | MA-AOP-001-01 | Sub Asset | Turbine | Pump | Mechanical | A |  |  |  | Active
Steam Turbine |  | Motor Auxilairy Oil Pump |  | MA-AOP-001-02 | Sub Asset | Turbine | Motor | Electrical | A |  |  |  | Active
Steam Turbine | Surface Condenser |  |  | MA-SUC-001 | Main Asset | Turbine | Machine | Mechanical | B | MAZDA LIMITED | VO-17-11672 | ST-010INT | Active
Steam Turbine | Hogger |  |  | MA-HOG-001 | Main Asset | Turbine | Machine | Mechanical | B | MAZDA LIMITED | VO-17-11672 | 100X100 | Active
Steam Turbine | Evactor Air Pump(Ejector) No.1 |  |  | MC-EJT-001 | Main Asset | Turbine | Machine | Mechanical | B | MAZDA LIMITED | VO-17-11672 A | 100X100 | Active
Steam Turbine | Evactor Air Pump(Ejector) No.2 |  |  | MC-EJT-002 | Main Asset | Turbine | Machine | Mechanical | B | MAZDA LIMITED | VO-17-11672 A | 100X100 | Active
Steam Turbine | Gland Vent Condenser |  |  | MA-GVC-001 | Main Asset | Turbine | Machine | Mechanical | C | CLB |  | 202-8-19 | Active
Steam Turbine |  | Motor Gland Vent Condenser |  | SA-GVC-001-01 | Sub Asset | Turbine | Motor | Electrical | A |  |  |  | Active
Steam Turbine |  |  | Sealing Gland Vent Exhaust | PA-GVC-001-02 | Part Asset | Turbine | Seal | Mechanical | A |  |  |  | Active
Steam Turbine |  |  | Oil Tank Storage | PA-OTS-001 | Main Asset | Turbine | Tank | Mechanical | B | TRIVENI |  |  | Active
Steam Turbine |  |  | Oil Cooler No.1 | PA-OCL-001 | Main Asset | Turbine | Oil Cooler | Mechanical | C | TRANTER |  | 127826-1/01 | Active
Steam Turbine |  |  | Oil Cooler No.2 | PA-OCL-002 | Main Asset | Turbine | Oil Cooler | Mechanical | C | TRANTER |  | 127826-1/01 | Active
Steam Turbine |  |  | Lube Oil Filter No.1 | PA-LOF-001 | Part Asset | Turbine | Filter | Mechanical | C | EATON | BT0150081 | H 10557 | Active
Steam Turbine |  |  | Lube Oil Filter No.2 | PA-LOF-002 | Part Asset | Turbine | Filter | Mechanical | C | EATON | BT0150081 | H 10557 | Active
Steam Turbine |  |  | Control Oil Filter No.1 | PA-COF-001 | Part Asset | Turbine | Filter | Mechanical | C | EATON | BT0150076 | H11739 | Active
Steam Turbine |  |  | Control Oil Filter No.2 | PA-COF-002 | Part Asset | Turbine | Filter | Mechanical | C | EATON | BT0150076 | H11739 | Active

## Water Treatment
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
Water Treatment | Raw Water Pump No. 1 |  |  | MA-RWP-001 | Main Asset | Water Treatment | Machine | Mechanical | B |  |  |  | Active
Water Treatment |  | Pump Raw Water Pump No. 1 |  | SA-RWP-001-01 | Sub Asset | Water Treatment | Pump | Mechanical | B |  |  |  | Active
Water Treatment |  | Motor Raw Water Pump No. 1 |  | SA-RWP-001-02 | Sub Asset | Water Treatment | Motor | Electrical | B |  |  |  | Active
Water Treatment | Raw Water Pump No. 2 |  |  | MA-RWP-002 | Main Asset | Water Treatment | Machine | Mechanical | B |  |  |  | Active
Water Treatment |  | Pump Raw Water Pump No. 2 |  | SA-RWP-002-01 | Sub Asset | Water Treatment | Pump | Mechanical | B |  |  |  | Active
Water Treatment |  | Motor Raw Water Pump No. 2 |  | SA-RWP-002-02 | Sub Asset | Water Treatment | Motor | Electrical | B |  |  |  | Active
Water Treatment | General Pump No. 1 |  |  | MA-GRP-001 | Main Asset | Water Treatment | Machine | Mechanical | B |  |  |  | Active
Water Treatment |  | Pump General Pump No. 1 |  | SA-GRP-001-01 | Sub Asset | Water Treatment | Pump | Mechanical | B |  |  |  | Active
Water Treatment |  | Motor General Pump No. 1 |  | SA-GRP-001-02 | Sub Asset | Water Treatment | Motor | Electrical | B |  |  |  | Active
Water Treatment | General Pump No. 2 |  |  | MA-GRP-002 | Main Asset | Water Treatment | Machine | Mechanical | B |  |  |  | Active
Water Treatment |  | Pump General Pump No. 2 |  | SA-GRP-002-01 | Sub Asset | Water Treatment | Pump | Mechanical | B |  |  |  | Active
Water Treatment |  | Motor General Pump No. 2 |  | SA-GRP-002-02 | Sub Asset | Water Treatment | Motor | Electrical | B |  |  |  | Active
Water Treatment | RO Supply Pump No. 1(Part 1) |  |  | MA-RO1-001 | Main Asset | Water Treatment | Machine | Mechanical | B |  |  |  | Active
Water Treatment |  | Pump RO Pump No. 1(Part 1) |  | SA-RO1-001-01 | Sub Asset | Water Treatment | Pump | Mechanical | B |  |  |  | Active
Water Treatment |  | Motor RO Pump No. 1(Part 1) |  | SA-RO1-001-02 | Sub Asset | Water Treatment | Motor | Electrical | B |  |  |  | Active
Water Treatment | RO Supply Pump No. 2(Part 1) |  |  | MA-RO1-002 | Main Asset | Water Treatment | Machine | Mechanical | B |  |  |  | Active
Water Treatment |  | Pump RO Pump No. 2(Part 1) |  | SA-RO1-002-01 | Sub Asset | Water Treatment | Pump | Mechanical | B |  |  |  | Active
Water Treatment |  | Motor RO Pump No. 2(Part 1) |  | SA-RO1-002-02 | Sub Asset | Water Treatment | Motor | Electrical | B |  |  |  | Active
Water Treatment | RO Supply Pump No. 1(Part 2) |  |  | MA-RO2-001 | Main Asset | Water Treatment | Machine | Mechanical | B |  |  |  | Active
Water Treatment |  | Pump RO Pump No. 1(Part 2) |  | SA-RO2-001-01 | Sub Asset | Water Treatment | Pump | Mechanical | B |  |  |  | Active
Water Treatment |  | Motor RO Pump No. 1(Part 2) |  | SA-RO2-001-02 | Sub Asset | Water Treatment | Motor | Electrical | B |  |  |  | Active
Water Treatment | RO Supply Pump No. 2(Part 2) |  |  | MA-RO2-002 | Main Asset | Water Treatment | Machine | Mechanical | B |  |  |  | Active
Water Treatment |  | Pump RO Pump No. 2(Part 2) |  | SA-RO2-002-01 | Sub Asset | Water Treatment | Pump | Mechanical | B |  |  |  | Active
Water Treatment |  | Motor RO Pump No. 2(Part 2) |  | SA-RO2-002-02 | Sub Asset | Water Treatment | Motor | Electrical | B |  |  |  | Active
Water Treatment | Back Wash Pump No. 1 |  |  | MA-BWP-001 | Main Asset | Water Treatment | Machine | Mechanical | B |  |  |  | Active
Water Treatment |  | Pump Back Wash Pump No. 1 |  | SA-BWP-001-01 | Sub Asset | Water Treatment | Pump | Mechanical | B |  |  |  | Active
Water Treatment |  | Motor Back Wash Pump No. 1 |  | SA-BWP-001-02 | Sub Asset | Water Treatment | Motor | Electrical | B |  |  |  | Active
Water Treatment | Back Wash Pump No. 2 |  |  | MA-BWP-002 | Main Asset | Water Treatment | Machine | Mechanical | B |  |  |  | Active
Water Treatment |  | Pump Back Wash Pump No. 2 |  | SA-BWP-002-01 | Sub Asset | Water Treatment | Pump | Mechanical | B |  |  |  | Active
Water Treatment |  | Motor Back Wash Pump No. 2 |  | SA-BWP-002-02 | Sub Asset | Water Treatment | Motor | Electrical | B |  |  |  | Active
Water Treatment | CIP Pump |  |  | MA-CIP-001 | Main Asset | Water Treatment | Machine | Electrical | B |  |  |  | Active
Water Treatment | Caustic Dosing Pump |  |  | MA-CDP-001 | Main Asset | Water Treatment | Machine | Electrical | B |  |  |  | Active
Water Treatment | Anti-Scale Dosing Pump |  |  | MA-ADP-001 | Main Asset | Water Treatment | Machine | Electrical | B |  |  |  | Active
Water Treatment | Smbs Dosing Pump |  |  | MA-SDP-001 | Main Asset | Water Treatment | Machine | Electrical | B |  |  |  | Active
Water Treatment | UF Chlorine Dosing Pump |  |  | MA-UCP-001 | Main Asset | Water Treatment | Machine | Electrical | B |  |  |  | Active
Water Treatment | UF Acid Dosing Pump |  |  | MA-UAP-001 | Main Asset | Water Treatment | Machine | Electrical | B |  |  |  | Active
Water Treatment | EDI Feed Pump No. 1 |  |  | MA-EDI-001 | Main Asset | Water Treatment | Machine | Mechanical | B |  |  |  | Active
Water Treatment | EDI Feed Pump No. 2 |  |  | MA-EDI-002 | Main Asset | Water Treatment | Machine | Mechanical | B |  |  |  | Active

## ESP
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
ESP | ESP Cell No.1 |  |  | MA-ESP-001 | Main Asset | ESP | Machine | Mechanical | B |  |  |  | Active
ESP |  | Transformer ESP Cell 01 |  | SA-ESP-001-01 | Sub Asset | ESP | Transformer | Electrical | B |  |  |  | Active
ESP |  | Motor Vibrator Hopper Cell 01 |  | SA-ESP-001-02 | Sub Asset | ESP | Motor | Electrical | B |  |  |  | Active
ESP |  | Rapping Motor Cell 01 |  | SA-ESP-001-03 | Sub Asset | ESP | Motor | Electrical | B |  |  |  | Active
ESP | ESP Cell No.2 |  |  | MA-ESP-002 | Main Asset | ESP | Machine | Mechanical | B |  |  |  | Active
ESP |  | Transformer ESP Cell 02 |  | SA-ESP-002-01 | Sub Asset | ESP | Transformer | Electrical | B |  |  |  | Active
ESP |  | Motor Vibrator Hopper Cell 02 |  | SA-ESP-002-02 | Sub Asset | ESP | Motor | Electrical | B |  |  |  | Active
ESP |  | Rapping Motor Cell 02 |  | SA-ESP-002-03 | Sub Asset | ESP | Motor | Electrical | B |  |  |  | Active
ESP | ESP Cell No.3 |  |  | MA-ESP-003 | Main Asset | ESP | Machine | Mechanical | B |  |  |  | Active
ESP |  | Transformer ESP Cell 03 |  | SA-ESP-002-01 | Sub Asset | ESP | Transformer | Electrical | B |  |  |  | Active
ESP |  | Motor Vibrator Hopper Cell 03 |  | SA-ESP-002-02 | Sub Asset | ESP | Motor | Electrical | B |  |  |  | Active
ESP |  | Rapping Motor Cell 03 |  | SA-ESP-002-03 | Sub Asset | ESP | Motor | Electrical | B |  |  |  | Active
ESP | Cabinet Vibrator |  |  | MA-CBV-001 | Main Asset | ESP | Cabinet | Electrical | B |  |  |  | Active
ESP | Purge Air Blower |  |  | MA-FAF-001 | Main Asset | ESP | Machine | Electrical | B |  |  |  | Active
ESP | ESP Heater |  |  | MA-ESE-001 | Main Asset | ESP | Heater | Electrical | B |  |  |  | Active
ESP |  |  | Hopper Heater 01 | PA-ESE-001-01 | Part Asset | ESP | Heater | Electrical | B |  |  |  | Active
ESP |  |  | Hopper Heater 02 | PA-ESE-001-02 | Part Asset | ESP | Heater | Electrical | B |  |  |  | Active
ESP |  |  | Hopper Heater 03 | PA-ESE-001-03 | Part Asset | ESP | Heater | Electrical | B |  |  |  | Active
ESP |  |  | Insulator Heater | PA-ESE-001-04 | Part Asset | ESP | Heater | Electrical | B |  |  |  | Active

## Cooling water
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
Cooling water | Cooling Tower Fan No. 1 |  |  | MA-CTF-001 | Main Asset | Cooling Tower | Machine | Mechanical | A |  |  |  | Active
Cooling water |  | Gear Cooling Tower No. 1 |  | SA-CTF-001-01 | Sub Asset | Cooling Tower | Gear | Mechanical | A |  |  |  | Active
Cooling water |  | Motor Cooling Tower No. 1 |  | SA-CTF-001-02 | Sub Asset | Cooling Tower | Motor | Electrical | A |  |  |  | Active
Cooling water | Cooling Tower Fan No. 2 |  |  | MA-CTF-002 | Main Asset | Cooling Tower | Machine | Mechanical | A |  |  |  | Active
Cooling water |  | Gear Cooling Tower No. 2 |  | SA-CTF-002-01 | Sub Asset | Cooling Tower | Gear | Mechanical | A |  |  |  | Active
Cooling water |  | Motor Cooling Tower No. 2 |  | SA-CTF-002-02 | Sub Asset | Cooling Tower | Motor | Electrical | A |  |  |  | Active
Cooling water | Make Up Cooling Pump No. 1 |  |  | MA-MUP-001 | Main Asset | Cooling Tower | Machine | Mechanical | A |  |  |  | Active
Cooling water |  | Pump Make Up Cooling Pump No. 1 |  | SA-MUP-001-01 | Sub Asset | Cooling Tower | Pump | Mechanical | A |  |  |  | Active
Cooling water |  | Motor Make Up Cooling Pump No. 1 |  | SA-MUP-001-02 | Sub Asset | Cooling Tower | Motor | Electrical | A |  |  |  | Active
Cooling water | Make Up Cooling Pump No. 2 |  |  | MA-MUP-002 | Main Asset | Cooling Tower | Machine | Mechanical | A |  |  |  | Active
Cooling water |  | Pump Make Up Cooling Pump No. 2 |  | SA-MUP-002-01 | Sub Asset | Cooling Tower | Pump | Mechanical | A |  |  |  | Active
Cooling water |  | Motor Make Up Cooling Pump No. 2 |  | SA-MUP-002-02 | Sub Asset | Cooling Tower | Motor | Electrical | A |  |  |  | Active
Cooling water | Auxiliary Cooling Pump No. 1 |  |  | MA-ACP-001 | Main Asset | Cooling Tower | Machine | Mechanical | A |  |  |  | Active
Cooling water |  | Pump Auxiliary Cooling Pump No. 1 |  | SA-ACP-001-01 | Sub Asset | Cooling Tower | Pump | Mechanical | A |  |  |  | Active
Cooling water |  | Motor Auxiliary Cooling Pump No. 1 |  | SA-ACP-001-02 | Sub Asset | Cooling Tower | Motor | Electrical | A |  |  |  | Active
Cooling water | Auxiliary Cooling Pump No. 2 |  |  | MA-ACP-002 | Main Asset | Cooling Tower | Machine | Mechanical | A |  |  |  | Active
Cooling water |  | Pump Auxiliary Cooling Pump No. 2 |  | SA-ACP-002-01 | Sub Asset | Cooling Tower | Pump | Mechanical | A |  |  |  | Active
Cooling water |  | Motor Auxiliary Cooling Pump No. 2 |  | SA-ACP-002-02 | Sub Asset | Cooling Tower | Motor | Electrical | A |  |  |  | Active
Cooling water | Condensate Pump No. 1 |  |  | MA-COP-001 | Main Asset | Cooling Tower | Machine | Mechanical | A |  |  |  | Active
Cooling water |  | Pump Condensate Pump No. 1 |  | SA-COP-001-01 | Sub Asset | Cooling Tower | Pump | Mechanical | A |  |  |  | Active
Cooling water |  | Motor Condensate Pump No. 1 |  | SA-COP-001-02 | Sub Asset | Cooling Tower | Motor | Electrical | A |  |  |  | Active
Cooling water | Condensate Pump No. 2 |  |  | MA-COP-002 | Main Asset | Cooling Tower | Machine | Mechanical | A |  |  |  | Active
Cooling water |  | Pump Condensate Pump No. 2 |  | SA-COP-002-01 | Sub Asset | Cooling Tower | Pump | Mechanical | A |  |  |  | Active
Cooling water |  | Motor Condensate Pump No. 2 |  | SA-COP-002-02 | Sub Asset | Cooling Tower | Motor | Electrical | A |  |  |  | Active
Cooling water | Main Cooling Pump No. 1 |  |  | MA-MCP-001 | Main Asset | Cooling Tower | Machine | Mechanical | A |  |  |  | Active
Cooling water |  | Main Cooling Pump No. 1 |  | SA-MCP-001-01 | Sub Asset | Cooling Tower | Pump | Mechanical | A |  |  |  | Active
Cooling water |  | Main Cooling Pump No. 1 |  | SA-MCP-001-02 | Sub Asset | Cooling Tower | Motor | Electrical | A |  |  |  | Active
Cooling water | Main Cooling Pump No. 2 |  |  | MA-MCP-002 | Main Asset | Cooling Tower | Machine | Mechanical | A |  |  |  | Active
Cooling water |  | Main Cooling Pump No. 2 |  | SA-MCP-002-01 | Sub Asset | Cooling Tower | Pump | Mechanical | A |  |  |  | Active
Cooling water |  | Main Cooling Pump No. 2 |  | SA-MCP-002-02 | Sub Asset | Cooling Tower | Motor | Electrical | A |  |  |  | Active
Cooling water | Main Cooling Pump No. 3 |  |  | MA-MCP-003 | Main Asset | Cooling Tower | Machine | Mechanical | A |  |  |  | Active
Cooling water |  | Main Cooling Pump No. 3 |  | SA-MCP-003-01 | Sub Asset | Cooling Tower | Pump | Mechanical | A |  |  |  | Active
Cooling water |  | Main Cooling Pump No. 3 |  | SA-MCP-003-02 | Sub Asset | Cooling Tower | Motor | Electrical | A |  |  |  | Active
Cooling water | PH Dosing Pump (Naoh) |  |  | MA-PHD-001 | Main Asset | Cooling Tower | Machine | Electrical | A |  |  |  | Active
Cooling water | Chlorine Dosing Pump |  |  | MA-CDP-001 | Main Asset | Cooling Tower | Machine | Electrical | A |  |  |  | Active
Cooling water | Anti Scale Dosing Pump |  |  | MA-ADP-001 | Main Asset | Cooling Tower | Machine | Electrical | A |  |  |  | Active
Cooling water | Condenser |  |  | MA-COS-001 | Main Asset | Cooling Tower | Machine | Mechanical | A |  |  |  | Active

## Vehicle
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
Vehicle | Loader No.03 |  |  | MA-LOD-001 | Main Asset | Vehicle | Vehicle | Mechanical | A |  |  |  | Active
Vehicle | Loader No.04 |  |  | MA-LOD-002 | Main Asset | Vehicle | Vehicle | Mechanical | A |  |  |  | Active
Vehicle | Backhoe No. 02 (BH no.3 SANY เดิม) |  |  | MA-BKH-001 | Main Asset | Vehicle | Vehicle | Mechanical | A |  |  |  | Active
Vehicle | Backhoe No. 04 (KOMUTSU สะบ้าย้อย) |  |  | MA-BKH-002 | Main Asset | Vehicle | Vehicle | Mechanical | A |  |  |  | Active
Vehicle | Fork Lift |  |  | MA-FOK-001 | Main Asset | Vehicle | Vehicle | Mechanical | A |  |  |  | Active
Vehicle | Trailer 82-7590/7591 (สะบ้าย้อย) |  |  | MA-TLE-001 | Main Asset | Vehicle | Vehicle | Mechanical | A |  |  |  | Active

## Utility
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
Utility | Fire Pump |  |  | MA-FIP-001 | Main Asset | Water Treatment | Machine | Mechanical | A |  |  |  | Active
Utility | Jocky Pump |  |  | MA-JKP-002 | Main Asset | Water Treatment | Machine | Mechanical | A |  |  |  | Active
Utility | Diesel Oil Tank |  |  | MA-DOT-001 | Main Asset | Water Treatment | Machine | Mechanical | A |  |  |  | Active
Utility | Control Panel Of Fire Pump |  |  | MA-CPF-002 | Main Asset | Water Treatment | Machine | Mechanical | A |  |  |  | Active
Utility | Air Compressor No. 1 |  |  | MA-ACP-001 | Main Asset | Water Treatment | Machine | Mechanical | A |  |  |  | Active
Utility |  | Pump Air Compressor No. 1 |  | SA-ACP-001-01 | Sub Asset | Water Treatment | Pump | Mechanical | A |  |  |  | Active
Utility |  | Motor Air Compressor No. 1 |  | SA-ACP-001-02 | Sub Asset | Water Treatment | Motor | Electrical | A |  |  |  | Active
Utility | Air Compressor No. 2 |  |  | MA-ACP-002 | Main Asset | Water Treatment | Machine | Mechanical | A |  |  |  | Active
Utility |  | Pump Air Compressor No. 2 |  | SA-ACP-002-01 | Sub Asset | Water Treatment | Pump | Mechanical | A |  |  |  | Active
Utility |  | Motor Air Compressor No. 2 |  | SA-ACP-002-02 | Sub Asset | Water Treatment | Motor | Electrical | A |  |  |  | Active
Utility | Refrigerator Air Dryer No. 1 |  |  | MA-RAD-001 | Main Asset | Water Treatment | Machine | Mechanical | A |  |  |  | Active
Utility |  | Fan Refrigerator Air Dryer No. 1 |  | SA-RAD-001-01 | Sub Asset | Water Treatment | Motor | Electrical | A |  |  |  | Active
Utility | Refrigerator Air Dryer No. 2 |  |  | MA-RAD-002 | Main Asset | Water Treatment | Machine | Mechanical | A |  |  |  | Active
|  | Fan Refrigerator Air Dryer No. 2 |  | SA-RAD-002-01 | Sub Asset | Water Treatment | Motor | Electrical | A |  |  |  | Active

## Electrical
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
Electrical Cabinet | Transformer 12,500 Kva |  |  | MA-TRM-001 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | Transformer 2,500 Kva |  |  | MA-TRM-002 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | Transformer 1,000 Kva |  |  | MA-TRM-003 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | SWG. 52g 11kv |  |  | MA-SWG-001 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | SWG. 52p 33kv |  |  | MA-SWG-002 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | SWG. 52s 33kv |  |  | MA-SWG-003 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | SWG. 52t 33kv |  |  | MA-SWG-004 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | SWG. PT 33kv |  |  | MA-SWG-005 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | TCP |  |  | MA-TCP-001 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | GCP |  |  | MA-GCP-001 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | AVR |  |  | MA-AVR-001 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | AC UPS |  |  | MA-UPS-001 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | Battery Charger 110V |  |  | MA-BCR-001 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | DCEOP |  |  | MA-DCE-001 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | MDB-01 @Control Room |  |  | MA-MDB-001 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | Main Feeder Acdp@control Room |  |  | MA-CDP-001 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | Main Feeder Acup@control Room |  |  | MA-CUP-001 | Main Asset | Turbine | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | DB-01 @Boiler&combustion |  |  | MA-DBB-001 | Main Asset | Boiler&combustion | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | MCC-01 @Boiler&combustion |  |  | MA-MCC-001 | Main Asset | Boiler&combustion | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | MCC-05 @ESP Room Z08a |  |  | MA-MCC-005 | Main Asset | Boiler&combustion | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | DB-02 @Water Treatment |  |  | MA-DBB-002 | Main Asset | Water Treatment | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | MCC-02 A @Water Treatment Z08a |  |  | MA-MCA-002 | Main Asset | Water Treatment | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | MCC-02 B @Water Treatment Z08a |  |  | MA-MCB-002 | Main Asset | Water Treatment | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | MDB-02 @Maintenance Office Zone |  |  | MA-MDB-002 | Main Asset | ASH handing | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | MCC-07 @Maintenance Office Zone Z08a |  |  | MA-MCC-007 | Main Asset | ASH handing | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | MCC-04 @Moving Floor Z08a |  |  | MA-MCC-004 | Main Asset | ASH handing | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | MCC-03 @Cooling Tower Z08a |  |  | MA-MCC-003 | Main Asset | Cooling Tower | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | ESP CELL 1 @ESP ROOM Z08A |  |  | MA-ESC-001 | Main Asset | ESP | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | ESP CELL 2 @ESP ROOM Z08A |  |  | MA-ESC-002 | Main Asset | ESP | Cabinet | Electrical | A |  |  |  | Active
Electrical Cabinet | ESP CELL 3 @ESP ROOM Z08A |  |  | MA-ESC-003 | Main Asset | ESP | Cabinet | Electrical | A |  |  |  | Active

## Instrument
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
Instrument | Boiler&Combustion Instrument |  |  | MA-INB-001 | Main Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | 10GCL35CL001_LEV Demin tank Level |  | 10GCL35CL001_LEV | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | FT3201 Demin make up flow |  | FT3201 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT3204 LP header pressure |  | PT3204 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT3202 Steam to deaerator temp |  | TT3202 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT3201 Deaerator pressure |  | PT3201 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT3201 Dearator temp |  | TT3201 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | LT3201 Level deaerator set point |  | LT3201 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | LT3201 Level deaerator actual |  | LT3201 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2101 Inlet VG temperature |  | TT2101 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2102 Outlet VG temperature |  | TT2102 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT3202 Feed water pressure |  | PT3202 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | FIC3001 Feed water flow |  | FIC3001 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT3001 Feed water inlet ECO pressure |  | PT3001 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT3001 Feed water inlet ECO temp |  | TT3001 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT3002 After ECO 2 pressure |  | PT3002 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT3002 After ECO 2 temp |  | TT3002 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT3003 Steam drum pressure |  | PT3003 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | LT3001 Steam drum level A |  | LT3001 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | LT3002 Steam drum level B |  | LT3002 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | LT3003 Steam drum level C |  | LT3003 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | LI3000 Steam drum level Average |  | LI3000 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT3006 Steam to LP header pressure |  | PT3006 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT3003 Super heater 1 temp |  | TT3003 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT3004 After de-superheat temp |  | TT3004 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT3004 Main steam pressure |  | PT3004 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT3005 Main steam temp |  | TT3005 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | FT3002 Main steam flow |  | FT3002 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | FT3002 Main steam totalizer |  | FT3002 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TDS3001 TDS |  | TDS3001 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT3005 Flash Vessel Pressure |  | PT3005 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT3006 Main stm to ejector temp |  | TT3006 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT3007 Main steam to ejector |  | PT3007 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2001 Vibrating grate temp 1 |  | TT2001 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2002 Vibrating grate temp 2 |  | TT2002 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2003 Vibrating grate temp 3 |  | TT2003 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2009 Primary air temp before heater |  | TT2009 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2010 Primary air temp after heater |  | TT2010 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2004 Combustion temp A |  | TT2004 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2005 Combustion temp B |  | TT2005 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2011 Secondary air temp |  | TT2011 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | DPT2001 Furnace pressure A |  | DPT2001 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | DPT2002 Furnace pressure B |  | DPT2002 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2006 Flue gas Temp #ECO before EVAP |  | TT2006 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | DPT2003 Flue gas Diff press #ECO before EVAP |  | DPT2003 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | QT2001 Oxygen control |  | QT2001 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2007 Flue gas before Air Pre-Heat |  | TT2007 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | DPT2004 Flue gas before Air Pre-Heat |  | DPT2004 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2008 Flue gas Temp after Air Pre-Heat |  | TT2008 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | DPT2005 Flue gas after Diff press Air Pre-Heat |  | DPT2005 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2013 Flue gas temp before stack |  | TT2013 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT2012 FGR Recir gas fan temp |  | TT2012 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT7002 Aux cooling pressure |  | PT7002 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT7002 Aux cooling temp |  | TT7002 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT7001 Main cooling supply pressure |  | PT7001 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT7001 Main cooling supply temp |  | TT7001 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TT7003 Return cooling temp |  | TT7003 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PHT7001 Return cooling pH |  | PHT7001 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument |  | CONT7001 Return cooling cond. |  | CONT7001 | Sub Asset | Boiler&Combustion | Instrument | Instrument | A |  |  |  | Active
Instrument | Turbine Instrument |  |  | MA-INT-001 | Main Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | DPT-200 Diff pr across lube oil filter high |  | DPT-200 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-201 AOP auto on-off |  | PS-201 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-203 EOP auto on-off |  | PS-203 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-200 Barring gear/ACOP interlock |  | PS-200 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-202 Lube oil Pressure low |  | PS-202 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-204A Lube oil Pressure very low |  | PS-204A | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-252 Control oil Pressure low |  | PS-252 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-253A Control oil Pressure very low |  | PS-253A | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-250 ACOP-2 auto on & ACOP-1 auto off |  | PS-250 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-251 ACOP-1 auto on & ACOP-2 auto off |  | PS-251 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-270 Trip Oil Pr very low |  | PS-270 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-110 Inlet steam Pressure High |  | PS-110 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-110A Inlet steam Pressure Very High |  | PS-110A | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT-110 Inlet steam Pressure Low |  | PT-110 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PT-110 Inlet steam Pressure Very Low |  | PT-110 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-300 Stand By CEP auto start |  | PS-300 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TI-110 Inlet steam Temperature Low |  | TI-110 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TI-110 Inlet steam Temperature Very Low |  | TI-110 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TI-110 Inlet steam Temperature High |  | TI-110 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TI-110 Inlet steam Temperature Very High |  | TI-110 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TI-150 Exhaust steam Temperature High |  | TI-150 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | TI-150 Exhaust steam Temp Very High |  | TI-150 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-150 Exhaust Pressure high |  | PS-150 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | PS-150A Exhaust Pressure Very High |  | PS-150A | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument | Turbine RTD Temperature |  |  | MA-RTD-001 | Main Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-200 Turbine Rotor Fore BRG |  | RTD-200 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-201 Turbine Rotor After BRG |  | RTD-201 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-202 Gearwheel Pinion Fore BRG |  | RTD-202 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-203 Gearwheel Pinion After BRG |  | RTD-203 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-204 Gear Wheel Fore BRG |  | RTD-204 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-205 Gearwheel After BRG |  | RTD-205 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-206 Alternator R Phase 1 WDG |  | RTD-206 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-207 Alternator R Phase 2 WDG |  | RTD-207 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-208 Alternator Y Phase 1 WDG |  | RTD-208 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-209 Alternator Y Phase 2 WDG |  | RTD-209 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-210 Alternator B Phase 1 WDG |  | RTD-210 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-211 Alternator B Phase 2 WDG |  | RTD-211 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-212 Alternator DE BRG Temp |  | RTD-212 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-213 Alternator NDE BRG Temp |  | RTD-213 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-214 Alternator Hot Air DE End BRG Temp |  | RTD-214 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-215 Alternator Hot Air NDE End BRG Temp |  | RTD-215 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-216 Alternator Cold Air DE End BRG Temp |  | RTD-216 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-217 Alternator Cold Air NDE End BRG Temp |  | RTD-217 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-220 Turbine Thrust BRG Active |  | RTD-220 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | RTD-221 Turbine Thrust BRG Non Active |  | RTD-221 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument | Turbine Vibration |  |  | MA-VIT-001 | Main Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | ZT-600 Axial Top |  | ZT-600 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | ZT-601 Axial Bottom |  | ZT-601 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-600 Turbine Shaft Vibration |  | XT-600 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-601 Turbine Shaft Vibration |  | XT-601 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-602 Turbine Shaft Vibration |  | XT-602 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-603 Turbine Shaft Vibration |  | XT-603 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-604 Gear Box Shaft Vibration |  | XT-604 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-605 Gear Box Shaft Vibration |  | XT-605 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-606 Gear Box Shaft Vibration |  | XT-606 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-607 Gear Box Shaft Vibration |  | XT-607 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-608 Gear Box Shaft Vibration |  | XT-608 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-609 Gear Box Shaft Vibration |  | XT-609 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-610 Gear Box Shaft Vibration |  | XT-610 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-611 Gear Box Shaft Vibration |  | XT-611 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-612 Alternator Shaft Vibration |  | XT-612 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-613 Alternator Shaft Vibration |  | XT-613 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-614 Alternator Shaft Vibration |  | XT-614 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active
Instrument |  | XT-615 Alternator Shaft Vibration |  | XT-615 | Sub Asset | Turbine | Instrument | Instrument | A |  |  |  | Active

## Control Valve
SYSTEM | MAIN ASSET | SUB-ASSET | PART-ASSET | CODE ASSET | ASSET LEVEL | AREA / ZONE | ASSET TYPE | DISCIPLINE | CRITICALITY | MANUFACTURER | MODEL / TYPE | SERIAL NO. | STATUS | KEY SPECIFICATION
Control Valve | All Control Valve |  |  | MA-CTV-001 | Main Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3001 Feed water |  | CV-3001 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3002 De-Superheater |  | CV-3002 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3003 Deae heat up |  | CV-3003 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3004 Start up |  | CV-3004 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3005 Blowdown Tank |  | CV-3005 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3006 TDS Blowdown |  | CV-3006 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3007 Header Blowdown |  | CV-3007 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3008 Header Blowdown |  | CV-3008 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3009 Header Blowdown |  | CV-3009 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3101 Soot blower |  | CV-3101 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3102 Soot blower |  | CV-3102 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3103 Soot blower |  | CV-3103 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3104 Soot blower |  | CV-3104 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3105 De-Superheater |  | CV-3105 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3201 Make up water |  | CV-3201 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3202 Over flow |  | CV-3202 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3203 Deae heat up |  | CV-3203 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3204 Superheater |  | CV-3204 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active
Control Valve |  | CV-3205 Superheater |  | CV-3205 | Sub Asset | Boiler&Combustion | Control Valve | Electrical | A |  |  |  | Active